# Fire Safety Notice

# Your personal safety comes first, DIAL 999, evacuate, and then phone your host; don’t spend valuable time fighting the fire.

Under the terms of the Fire Safety Regulation Part 3 Fire (Scotland) Act 2005

All guests need to make themselves familiar with the contents of this Notice.

It is a condition of booking that the lead guest has read this information.

A full Fire Risk Assessment has been conducted and measures put in place to mitigate that risk through provision of alarms; guidance on best practice and having this Emergency Fire Action Plan in place and displayed.

On arrival

Familiarise yourselves with the exits

Keep the exit routes clear of obstruction

At night

Keep doors to bedrooms closed

Leave outside doors on the thumb lock only

Ensure that all have read this notice,  the bedroom Fire notice and the torch provided in each bedroom.

Heat and Smoke alarms –

These are mains electricity connected and located on the ceiling in rooms and main passages and stairs.

There are battery powered carbon monoxide alarms in every room with a stove.  If there are any issues with the working of these alarms refer to the information folder and report it to our host immediately at any time of day or night.- or feel free to use 07785323300.

Naked Flame Policy

This is a No Smoking property.  Smoking is NOT permitted in the house or sheds under any circumstances.

The candles provided at the dining table and in the fireplace in the small bathroom may be lit when the rooms are occupied only. No other burning of candles is permitted under any circumstances.

# Fire Safety Notice, continued.

Wood burning stoves

Instructions are next to the stoves. Following them will minimise the risk of fire spreading from the stove.  We provide wood that has a low moisture content which has a lower risk of sparking.   Please do not burn any other fuel or rubbish on the stove as it will compromise the condition of the stove and the flue and may create a fire risk.

If you use the wood stove: only use the wood provided.

- after lighting, make sure the door is properly closed,  do not use it as an open fire.

- ensure that the fire is tended during the starting process.

- ensure the door and air damper are closed at night or if you are leaving it unattended.

- be aware that the surface of the stove can get extremely hot so do not touch it.

- If the stove is on, its best if one window is open at least 30mm, in addition there are brass vents in the floor next to the stove- they should not be covered.

NEVER LEAVE CHILDREN UNSUPERVISED IN THE VICINITY OF THE STOVE

(Ask for the special guard for use when there are small children in the house)

BEFORE GOING TO BED ENSURE

- Everyone knows the escape routes; the outside doors are not bolted; and everyone can open the easy turn lock from the inside.

- That all passages are clear of obstruction

- That everyone knows where their emergency torch and evacuation notice is.

- That all doors are closed.

# Fire Safety Notice, Bedrooms

IN THE EVENT OF FIRE

- DIAL 999- YOU ARE AT THE BOATHOUSE, INVERDRUIE, AVIEMORE, PH22 1QP.

- VACATE THE ROOM, RAISING THE ALARM AS Y0U GO.

- SHUT THE DOOR

- IF THE ESCAPE ROUTE IS AFFECTED, STAY IN YOUR BEDROOM WITH THE DOOR CLOSED,  THE FIRE BRIGADE CAN HELP YOU EXIT VIA THE WINDOW.

- VACATE THE BUILDING

- ASSEMBLE NEXT TO THE CAR PARK SHED.

- PHONE OUR HOST   07710014697 (failing that, 01479810123; 07785323300)

- DON’T TRY TO FIGHT THE FIRE,

- DON’T RE-ENTER UNTIL YOU ARE TOLD YOU CAN BY THE FIRE SERVICE.

- WAIT FOR THE FIRE BRIGADE, DON’T DRIVE AWAY AS YOU COULD BLOCK THEIR ARRIVAL

TO PREVENT A SMALL FIRE, FOR THOSE WHO KNOW HOW TO USE THEM.

- A fire blanket is in the kitchen near the cooker

- A fire extinguisher is  located behind the back door next to the kitchen.

- DON’T’ BE  A HERO.

A torch for emergency use is provided HERE.  If it gets left on by mistake or does not operate well, please tell  our host.

Thank you.